## survey
type | name | label | hint | required
start | start |  |  | no
end | end |  |  | no
text | technician_name | Technician Name | Full name of installing technician | yes
text | technician_id | Technician ID | Employee or license number | yes
date | installation_date | Installation Date | Date of installation | yes
text | customer_name | Customer Name | Customer full name | yes
text | customer_address | Installation Address | Full address of installation | yes
select_one | unit_type | Unit Type | Type of HVAC unit | yes
text | unit_brand | Unit Brand | Manufacturer brand | yes
text | unit_model | Unit Model Number | Model number | yes
text | unit_serial | Unit Serial Number | Serial number | yes
text | unit_capacity | Unit Capacity (tons) | Cooling capacity | yes
text | seer_rating | SEER Rating | Seasonal Energy Efficiency Ratio | yes
select_one | pre_installation_inspection | Pre-Installation Inspection Completed | Was site inspected before installation | yes
select_one | electrical_requirements | Electrical Requirements Verified | Are electrical specs met | yes
select_one | refrigerant_lines | Refrigerant Lines Check | Are lines properly installed | yes
select_one | ductwork_inspection | Ductwork Inspection | Condition of existing ductwork | yes
select_one | thermostat_installed | Thermostat Installed | Was thermostat installed | yes
select_one | thermostat_type | Thermostat Type | Type of thermostat | no
select_one | condensate_drain | Condensate Drain Check | Is drain properly connected | yes
text | airflow_measurement | Airflow Measurement (CFM) | Measured airflow | yes
select_one | refrigerant_charge | Refrigerant Charge Verified | Is charge correct | yes
text | suction_pressure | Suction Pressure (PSI) | Measured suction pressure | no
text | head_pressure | Head Pressure (PSI) | Measured head pressure | no
text | temperature_differential | Temperature Differential (F) | Return vs supply temp difference | yes
select_one | safety_controls_tested | Safety Controls Tested | Were all safety controls verified | yes
select_one | unit_level | Unit Level and Secure | Is unit properly mounted | yes
select_one | insulation_check | Insulation Check | Is insulation properly installed | yes
select_one | customer_instruction | Customer Instruction Provided | Did you explain operation to customer | yes
select_one | manual_provided | Manual and Documentation Provided | Were manuals given to customer | yes
select_one | work_area_cleaned | Work Area Cleaned | Was area cleaned after installation | yes
select_one | final_test_run | Final Test Run Completed | Was system tested in all modes | yes
text | issues_found | Issues Found | Any issues during installation | no
text | technician_signature | Technician Signature | Digital signature | yes
text | customer_signature | Customer Signature | Customer approval signature | yes
select_one | checklist_status | Checklist Status | Overall completion status | yes

## choices
list_name | name | label
unit_type_choices | central_air_conditioner | Central air conditioner
unit_type_choices | heat_pump | Heat pump
unit_type_choices | ductless_mini-split | Ductless mini-split
unit_type_choices | window_unit | Window unit
unit_type_choices | package_unit | Package unit
unit_type_choices | commercial_rooftop | Commercial rooftop
pre_installation_inspection_choices | true | True
pre_installation_inspection_choices | false | False
electrical_requirements_choices | true | True
electrical_requirements_choices | false | False
electrical_requirements_choices | not_applicable | Not applicable
refrigerant_lines_choices | true | True
refrigerant_lines_choices | false | False
refrigerant_lines_choices | not_applicable | Not applicable
ductwork_inspection_choices | good_condition | Good condition
ductwork_inspection_choices | fair_condition | Fair condition
ductwork_inspection_choices | poor_condition | Poor condition
ductwork_inspection_choices | new_ductwork_installed | New ductwork installed
ductwork_inspection_choices | not_applicable | Not applicable
thermostat_installed_choices | yes,_new | Yes, new
thermostat_installed_choices | yes,_existing_used | Yes, existing used
thermostat_installed_choices | false | False
thermostat_type_choices | manual | Manual
thermostat_type_choices | programmable | Programmable
thermostat_type_choices | smart/wifi | Smart/WiFi
thermostat_type_choices | not_applicable | Not applicable
condensate_drain_choices | yes,_properly_installed | Yes, properly installed
condensate_drain_choices | yes,_needs_adjustment | Yes, needs adjustment
condensate_drain_choices | false | False
condensate_drain_choices | not_applicable | Not applicable
refrigerant_charge_choices | true | True
refrigerant_charge_choices | false | False
refrigerant_charge_choices | adjusted | Adjusted
safety_controls_tested_choices | yes,_all_tested | Yes, all tested
safety_controls_tested_choices | some_tested | Some tested
safety_controls_tested_choices | false | False
unit_level_choices | true | True
unit_level_choices | false | False
insulation_check_choices | true | True
insulation_check_choices | false | False
insulation_check_choices | not_applicable | Not applicable
customer_instruction_choices | true | True
customer_instruction_choices | false | False
manual_provided_choices | true | True
manual_provided_choices | false | False
work_area_cleaned_choices | true | True
work_area_cleaned_choices | false | False
final_test_run_choices | true | True
final_test_run_choices | false | False
checklist_status_choices | complete,_all_items_passed | Complete, all items passed
checklist_status_choices | complete,_minor_issues_noted | Complete, minor issues noted
checklist_status_choices | incomplete,_follow-up_needed | Incomplete, follow-up needed

## settings
form_title | 021 Air Conditioner Hvac Installation Checklist - Safety Inspection Forms
form_id | 021_air_conditioner_hvac_installation_checklist_safety_inspection_forms
version | 1.0
public_key