## survey
type | name | label | hint | required
start | start |  |  | no
end | end |  |  | no
note | inspection_metadata_header | -- Inspection Metadata -- |  | no
date | inspection_date | Date of Inspection |  | yes
text | inspector_name | Inspector Full Name |  | yes
text | battery_room_id | Battery Room Identifier/Location |  | yes
note | sensor_status_header | -- Hydrogen Monitoring System -- |  | no
select_one | sensor_power_status | Monitoring System Power Status |  | yes
date | sensor_calibration_date | Date of Last Sensor Calibration |  | yes
select_one | alarm_test_performed | Was a manual alarm test performed? |  | yes
note | ventilation_header | -- Ventilation and Airflow -- |  | no
select_one | exhaust_fan_operation | Exhaust Fan Operational Status |  | yes
select_one | intake_louvers_clear | Are air intake louvers clear and unobstructed? |  | yes
note | battery_visual_header | -- Battery Physical Condition -- |  | no
select_one | visible_leakage_detected | Any evidence of electrolyte leakage or corrosion? |  | yes
text | overall_safety_rating | Overall Room Safety Rating | 5 - Excellent, 1 - Dangerous | yes
text | required_corrective_actions | Required Corrective Actions | Describe any repairs or maintenance needed | no
select_one | signature_acknowledgment | I certify that I have inspected the room and found it to be as described. |  | yes
time | timestamp | Inspection Completion Time |  | yes

## choices
list_name | name | label
sensor_power_status_choices | online_/_normal | Online / Normal
sensor_power_status_choices | battery_backup_mode | Battery Backup Mode
sensor_power_status_choices | offline_/_fault | Offline / Fault
alarm_test_performed_choices | yes_-_successful | Yes - Successful
alarm_test_performed_choices | yes_-_failed | Yes - Failed
alarm_test_performed_choices | false | False
exhaust_fan_operation_choices | running_normal | Running Normal
exhaust_fan_operation_choices | low_airflow_detected | Low Airflow Detected
exhaust_fan_operation_choices | not_operational | Not Operational
intake_louvers_clear_choices | true | True
intake_louvers_clear_choices | false | False
visible_leakage_detected_choices | none_detected | None Detected
visible_leakage_detected_choices | minor_corrosion | Minor Corrosion
visible_leakage_detected_choices | significant_leakage_(immediate_action) | Significant Leakage (Immediate Action)
signature_acknowledgment_choices | i_certify | I Certify
signature_acknowledgment_choices | other | Other

## settings
form_title | 041 Battery Room Hydrogen Monitoring Inspection Checklist - Checklist Forms
form_id | 041_battery_room_hydrogen_monitoring_inspection_checklist_checklist_forms
version | 1.0
public_key