## survey
type | name | label | hint | required
start | start |  |  | no
end | end |  |  | no
text | operator_name | Operator Name | Name of operator opening the control room | yes
text | operator_id | Operator ID | Employee identification number | yes
date | shift_date | Shift Date | Date of this shift | yes
time | shift_start_time | Shift Start Time | Time of opening | yes
note | section_physical_security | -- Physical Security -- |  | no
select_one | door_locks_functional | Door locks functional |  | yes
select_one | access_control_system | Access control system operational |  | yes
select_one | security_cameras | Security cameras functioning | All cameras operational | yes
text | camera_issues | Describe Camera Issues | If any cameras not working | no
note | section_power_systems | -- Power Systems -- |  | no
select_one | main_power_status | Main power supply normal |  | yes
select_one | ups_status | UPS systems operational | Uninterruptible power supply check | yes
select_one | generator_status | Backup generator ready |  | yes
note | section_communication_systems | -- Communication Systems -- |  | no
select_one | phone_systems | Phone systems operational |  | yes
select_one | radio_systems | Radio communication working |  | yes
select_one | intercom_system | Intercom system functional |  | yes
note | section_monitoring_systems | -- Monitoring Systems -- |  | no
select_one | monitoring_screens | All monitoring screens active |  | yes
select_one | alarm_systems | Alarm systems armed and ready |  | yes
select_one | sensor_status | All sensors reporting |  | yes
note | section_computer_systems | -- Computer Systems -- |  | no
select_one | workstations_operational | All workstations operational |  | yes
select_one | network_connectivity | Network connectivity normal |  | yes
select_one | software_systems | All required software running |  | yes
note | section_environmental | -- Environmental Controls -- |  | no
select_one | temperature_normal | Temperature within normal range |  | yes
select_one | hvac_operational | HVAC system operational |  | yes
select_one | fire_suppression | Fire suppression system ready |  | yes
note | section_documentation | -- Documentation -- |  | no
select_one | logbooks_available | Log books available and current |  | yes
select_one | emergency_procedures | Emergency procedures accessible |  | yes
select_one | contact_lists_current | Emergency contact lists current |  | yes
note | section_issues | -- Issues Found -- |  | no
select_one | issues_found | Were any issues found |  | yes
text | issues_description | Describe Issues Found | Detail any problems | no
text | actions_taken | Actions Taken | What was done to address issues | no
text | escalations_needed | Escalations Needed | Who was notified | no
note | section_approval | -- Approval -- |  | no
select_one | control_room_ready | Control room ready for operation |  | yes
select_one | supervisor_notified | Supervisor notified of status |  | yes
text | additional_notes | Additional Notes | Any other relevant information | no

## choices
list_name | name | label
door_locks_functional_choices | true | True
door_locks_functional_choices | false | False
door_locks_functional_choices | not_applicable | Not Applicable
access_control_system_choices | true | True
access_control_system_choices | false | False
access_control_system_choices | not_applicable | Not Applicable
security_cameras_choices | yes_-_all_working | Yes - All Working
security_cameras_choices | partially_working | Partially Working
security_cameras_choices | no_-_issues_found | No - Issues Found
main_power_status_choices | true | True
main_power_status_choices | false | False
ups_status_choices | yes_-_all_normal | Yes - All Normal
ups_status_choices | yes_-_on_battery | Yes - On Battery
ups_status_choices | no_-_issues_found | No - Issues Found
generator_status_choices | yes_-_ready | Yes - Ready
generator_status_choices | no_-_maintenance_needed | No - Maintenance Needed
generator_status_choices | not_applicable | Not Applicable
phone_systems_choices | yes_-_all_working | Yes - All Working
phone_systems_choices | partially_working | Partially Working
phone_systems_choices | no_-_issues_found | No - Issues Found
radio_systems_choices | true | True
radio_systems_choices | false | False
radio_systems_choices | not_applicable | Not Applicable
intercom_system_choices | true | True
intercom_system_choices | false | False
intercom_system_choices | not_applicable | Not Applicable
monitoring_screens_choices | true | True
monitoring_screens_choices | no_-_some_offline | No - Some Offline
alarm_systems_choices | true | True
alarm_systems_choices | false | False
alarm_systems_choices | partially | Partially
sensor_status_choices | true | True
sensor_status_choices | no_-_some_offline | No - Some Offline
workstations_operational_choices | true | True
workstations_operational_choices | no_-_issues_found | No - Issues Found
network_connectivity_choices | true | True
network_connectivity_choices | no_-_degraded | No - Degraded
network_connectivity_choices | no_-_offline | No - Offline
software_systems_choices | true | True
software_systems_choices | no_-_issues_found | No - Issues Found
temperature_normal_choices | true | True
temperature_normal_choices | false | False
hvac_operational_choices | true | True
hvac_operational_choices | false | False
hvac_operational_choices | partially | Partially
fire_suppression_choices | yes_-_normal | Yes - Normal
fire_suppression_choices | no_-_maintenance_needed | No - Maintenance Needed
logbooks_available_choices | true | True
logbooks_available_choices | false | False
emergency_procedures_choices | true | True
emergency_procedures_choices | false | False
contact_lists_current_choices | true | True
contact_lists_current_choices | no_-_needs_update | No - Needs Update
issues_found_choices | true | True
issues_found_choices | false | False
control_room_ready_choices | true | True
control_room_ready_choices | no_-_not_ready | No - Not Ready
control_room_ready_choices | ready_with_exceptions | Ready with Exceptions
supervisor_notified_choices | true | True
supervisor_notified_choices | false | False
supervisor_notified_choices | not_required | Not Required

## settings
form_title | 028 Control Room Opening Checklist - Business Forms
form_id | 028_control_room_opening_checklist_business_forms
version | 1.0
public_key