## survey
type | name | label | hint | required
start | start |  |  | no
end | end |  |  | no
text | employee_name | Employee Name | Full name of worker | yes
text | employee_id | Employee ID | Employee number | yes
date | report_date | Report Date | Date of work | yes
select_one | shift | Shift | Work shift | yes
text | job_site | Job Site Location | Address or location | yes
text | customer_name | Customer Name | Customer or site contact | yes
select_one | work_type | Type of Work | Primary work performed | yes
select_one | equipment_type | Equipment Type | Type of AC equipment | yes
text | equipment_brand | Equipment Brand | Manufacturer | no
text | work_description | Work Description | Detailed description of work performed | yes
text | materials_used | Materials Used | List materials consumed | yes
select_one | refrigerant_type | Refrigerant Type | Type of refrigerant if used | no
text | refrigerant_amount | Refrigerant Amount Added (lbs) | Pounds of refrigerant added | no
text | parts_replaced | Parts Replaced | List any parts replaced | no
text | parts_part_numbers | Part Numbers | Part numbers if applicable | no
select_multiple | tools_used | Tools and Equipment Used | List major tools used | yes
text | hours_worked | Hours Worked | Total hours on job | yes
time | start_time | Start Time | Work start time | yes
time | end_time | End Time | Work end time | yes
select_one | system_status | System Status After Work | Current system condition | yes
text | test_results | Test Results | Pressures, temperatures, etc. | no
select_one | safety_issues | Safety Issues Encountered | Any safety concerns | yes
select_one | customer_satisfaction | Customer Satisfaction | Customer response to work | yes
select_one | follow_up_needed | Follow-up Visit Needed | Is return visit required | yes
date | follow_up_date | Follow-up Date | Scheduled return date | no
text | vehicle_mileage | Vehicle Mileage | Miles driven for this job | no
text | supervisor_name | Supervisor Name | Reporting supervisor | yes
text | employee_signature | Employee Signature | Digital signature | yes

## choices
list_name | name | label
shift_choices | morning_(6am-2pm) | Morning (6AM-2PM)
shift_choices | afternoon_(2pm-10pm) | Afternoon (2PM-10PM)
shift_choices | night_(10pm-6am) | Night (10PM-6AM)
shift_choices | day_shift_(8am-5pm) | Day shift (8AM-5PM)
shift_choices | other | Other
work_type_choices | new_installation | New installation
work_type_choices | repair | Repair
work_type_choices | maintenance | Maintenance
work_type_choices | replacement | Replacement
work_type_choices | inspection | Inspection
work_type_choices | emergency_service | Emergency service
equipment_type_choices | central_ac | Central AC
equipment_type_choices | heat_pump | Heat pump
equipment_type_choices | ductless_mini-split | Ductless mini-split
equipment_type_choices | window_unit | Window unit
equipment_type_choices | commercial_rooftop | Commercial rooftop
equipment_type_choices | chiller | Chiller
equipment_type_choices | other | Other
refrigerant_type_choices | r-22 | R-22
refrigerant_type_choices | r-410a | R-410A
refrigerant_type_choices | r-32 | R-32
refrigerant_type_choices | r-134a | R-134a
refrigerant_type_choices | r-454b | R-454B
refrigerant_type_choices | not_applicable | Not applicable
tools_used_choices | manifold_gauge_set | Manifold gauge set
tools_used_choices | vacuum_pump | Vacuum pump
tools_used_choices | leak_detector | Leak detector
tools_used_choices | multimeter | Multimeter
tools_used_choices | thermometer | Thermometer
tools_used_choices | recovery_machine | Recovery machine
tools_used_choices | tubing_tools | Tubing tools
tools_used_choices | power_tools | Power tools
system_status_choices | fully_operational | Fully operational
system_status_choices | operational_with_limitations | Operational with limitations
system_status_choices | not_operational,_parts_needed | Not operational, parts needed
system_status_choices | not_operational,_further_work_needed | Not operational, further work needed
system_status_choices | pending_customer_decision | Pending customer decision
safety_issues_choices | none | None
safety_issues_choices | minor,_resolved_on_site | Minor, resolved on site
safety_issues_choices | major,_requires_follow-up | Major, requires follow-up
safety_issues_choices | work_stopped_due_to_safety | Work stopped due to safety
customer_satisfaction_choices | very_satisfied | Very satisfied
customer_satisfaction_choices | satisfied | Satisfied
customer_satisfaction_choices | neutral | Neutral
customer_satisfaction_choices | dissatisfied | Dissatisfied
customer_satisfaction_choices | not_available | Not available
follow_up_needed_choices | yes,_scheduled | Yes, scheduled
follow_up_needed_choices | yes,_to_be_scheduled | Yes, to be scheduled
follow_up_needed_choices | false | False

## settings
form_title | 022 Air Conditioning Daily Requisition Report Form - Tracking Forms
form_id | 022_air_conditioning_daily_requisition_report_form_tracking_forms
version | 1.0
public_key