## survey
type | name | label | hint | required
start | start |  |  | no
end | end |  |  | no
note | inspection_header | -- Inspection Details -- |  | no
text | inspector_name | Inspector Name |  | yes
date | inspection_date | Date of Inspection |  | yes
text | device_serial_number | Device Serial Number | Locate on the back or bottom of the unit | yes
select_one | model_type | Device Model |  | yes
note | physical_checks_header | -- Physical Condition Checks -- |  | no
select_one | casing_integrity | Casing Integrity - no cracks or damage |  | yes
select_one | battery_compartment | Battery Compartment Status | Check for corrosion or loose contacts | yes
text | battery_level | Battery Charge Level | Replace if below 25 percent | yes
note | functional_tests_header | -- Functional Tests -- |  | no
select_one | power_on_self_test | Power-On Self-Test Successful |  | yes
select_one | display_clarity | Display Visibility and Clarity | ensure all LEDs or screen elements are functional | yes
select_one | compression_depth_accuracy | Compression Depth Accuracy Test | Use calibration manikin for verification | yes
select_one | rate_feedback_accuracy | Rate Feedback Accuracy Test |  | yes
text | maintenance_notes | Maintenance or Repair Notes | Describe any issues found during inspection | no
select_one | final_status | Overall Inspection Result |  | yes

## choices
list_name | name | label
model_type_choices | model_a_-_basic | Model A - Basic
model_type_choices | model_b_-_pro | Model B - Pro
model_type_choices | model_c_-_wireless | Model C - Wireless
model_type_choices | advanced_feedback_system | Advanced Feedback System
casing_integrity_choices | pass | Pass
casing_integrity_choices | fail | Fail
casing_integrity_choices | n/a | N/A
battery_compartment_choices | clean | Clean
battery_compartment_choices | needs_attention | Needs Attention
battery_compartment_choices | critical_error | Critical Error
power_on_self_test_choices | true | True
power_on_self_test_choices | false | False
display_clarity_choices | excellent | Excellent
display_clarity_choices | good | Good
display_clarity_choices | poor_-_needs_replacement | Poor - Needs Replacement
compression_depth_accuracy_choices | within_tolerance | Within Tolerance
compression_depth_accuracy_choices | out_of_tolerance | Out of Tolerance
rate_feedback_accuracy_choices | within_tolerance | Within Tolerance
rate_feedback_accuracy_choices | out_of_tolerance | Out of Tolerance
final_status_choices | certified_for_use | Certified for Use
final_status_choices | quarantine_-_needs_repair | Quarantine - Needs Repair
final_status_choices | decommissioned | Decommissioned

## settings
form_title | 003 Cpr Chest Compression Feedback Device Inspection Checklist - Inspection Forms
form_id | 003_cpr_chest_compression_feedback_device_inspection_checklist_inspection_forms
version | 1.0
public_key