## survey
type | name | label | hint | required
start | start |  |  | no
end | end |  |  | no
date | inspection_date | Inspection Date |  | yes
time | inspection_time | Inspection Time |  | yes
text | inspector_name | Inspector Name |  | yes
text | inspector_certification | Inspector Certification Number |  | yes
text | facility_name | Facility Name |  | yes
text | facility_location | Facility Location |  | yes
text | boiler_manufacturer | Boiler Manufacturer |  | yes
text | boiler_model | Boiler Model |  | yes
text | boiler_serial_number | Boiler Serial Number |  | yes
date | installation_date | Date of Installation |  | no
date | last_inspection_date | Date of Last Inspection |  | no
select_one | boiler_condition | Overall Boiler Condition |  | yes
select_one | exterior_cleanliness | Exterior Cleanliness |  | yes
select_one | rust_or_corrosion | Evidence of Rust or Corrosion |  | yes
select_one | leaks_or_drips | Leaks or Drips |  | yes
select_one | pressure_gauge_condition | Pressure Gauge Condition |  | yes
select_one | temperature_gauge_condition | Temperature Gauge Condition |  | yes
select_one | safety_valve_condition | Safety Valve Condition |  | yes
select_one | fuel_supply_line | Fuel Supply Line Condition |  | yes
select_one | ventilation_system | Ventilation System |  | yes
select_one | flue_pipe_condition | Flue Pipe Condition |  | yes
select_one | water_level_visible | Water Level Gauge Visible and Clear |  | yes
select_one | controls_functioning | All Controls Functioning Properly |  | yes
select_one | safety_equipment_present | Safety Equipment Present | Fire extinguisher, first aid, etc | yes
select_one | maintenance_history_available | Maintenance Records Available |  | yes

## choices
list_name | name | label
boiler_condition_choices | excellent | Excellent
boiler_condition_choices | good | Good
boiler_condition_choices | fair | Fair
boiler_condition_choices | poor | Poor
boiler_condition_choices | critical_-_needs_immediate_attention | Critical - Needs Immediate Attention
exterior_cleanliness_choices | clean | Clean
exterior_cleanliness_choices | reasonably_clean | Reasonably Clean
exterior_cleanliness_choices | dusty | Dusty
exterior_cleanliness_choices | very_dirty | Very Dirty
rust_or_corrosion_choices | none | None
rust_or_corrosion_choices | minor | Minor
rust_or_corrosion_choices | moderate | Moderate
rust_or_corrosion_choices | severe | Severe
leaks_or_drips_choices | no_leaks | No Leaks
leaks_or_drips_choices | minor_leaks | Minor Leaks
leaks_or_drips_choices | moderate_leaks | Moderate Leaks
leaks_or_drips_choices | severe_leaks | Severe Leaks
pressure_gauge_condition_choices | functional_-_normal | Functional - Normal
pressure_gauge_condition_choices | functional_-_needs_calibration | Functional - Needs Calibration
pressure_gauge_condition_choices | damaged | Damaged
pressure_gauge_condition_choices | missing | Missing
temperature_gauge_condition_choices | functional_-_normal | Functional - Normal
temperature_gauge_condition_choices | functional_-_needs_calibration | Functional - Needs Calibration
temperature_gauge_condition_choices | damaged | Damaged
temperature_gauge_condition_choices | missing | Missing
safety_valve_condition_choices | functional | Functional
safety_valve_condition_choices | needs_testing | Needs Testing
safety_valve_condition_choices | needs_replacement | Needs Replacement
safety_valve_condition_choices | missing | Missing
safety_valve_condition_choices | inoperable | Inoperable
fuel_supply_line_choices | good | Good
fuel_supply_line_choices | acceptable | Acceptable
fuel_supply_line_choices | needs_attention | Needs Attention
fuel_supply_line_choices | critical | Critical
ventilation_system_choices | good_-_clear | Good - Clear
ventilation_system_choices | acceptable_-_minor_blockage | Acceptable - Minor Blockage
ventilation_system_choices | needs_cleaning | Needs Cleaning
ventilation_system_choices | critical_-_blocked | Critical - Blocked
flue_pipe_condition_choices | good | Good
flue_pipe_condition_choices | acceptable | Acceptable
flue_pipe_condition_choices | needs_repair | Needs Repair
flue_pipe_condition_choices | critical | Critical
water_level_visible_choices | true | True
water_level_visible_choices | needs_cleaning | Needs Cleaning
water_level_visible_choices | false | False
controls_functioning_choices | true | True
controls_functioning_choices | mostly | Mostly
controls_functioning_choices | some_issues | Some Issues
controls_functioning_choices | false | False
safety_equipment_present_choices | all_present | All Present
safety_equipment_present_choices | some_missing | Some Missing
safety_equipment_present_choices | most_missing | Most Missing
safety_equipment_present_choices | none_present | None Present
maintenance_history_available_choices | complete_records | Complete Records
maintenance_history_available_choices | partial_records | Partial Records
maintenance_history_available_choices | minimal_records | Minimal Records
maintenance_history_available_choices | no_records | No Records

## settings
form_title | 040 Boiler Room Inspection Form - Business Forms
form_id | 040_boiler_room_inspection_form_business_forms
version | 1.0
public_key