## survey
type | name | label | hint | required
start | start |  |  | no
end | end |  |  | no
text | technician_name | Technician Name | Full name | yes
text | technician_id | Technician ID | Employee number | yes
date | maintenance_date | Maintenance Date | Date of service | yes
text | facility_name | Facility Name | Location name | yes
text | facility_address | Facility Address | Full address | yes
text | system_id | System ID or Name | Equipment identifier | yes
select_one | system_type | System Type | Type of filtration system | yes
text | system_location | System Location | Where is system located | yes
select_one | maintenance_type | Maintenance Type | Type of service | yes
select_one | pre_filter_condition | Pre-Filter Condition | Current condition | yes
select_one | pre_filter_replaced | Pre-Filter Replaced | Was pre-filter replaced | yes
select_one | hepa_filter_condition | HEPA Filter Condition | Current condition | yes
select_one | hepa_filter_replaced | HEPA Filter Replaced | Was HEPA filter replaced | yes
select_one | carbon_filter_condition | Carbon Filter Condition | Current condition | yes
select_one | uv_lamp_status | UV Lamp Status | Is UV lamp functioning | yes
text | uv_lamp_hours | UV Lamp Hours | Hours of operation | no
select_one | housing_cleaned | Housing Cleaned | Was interior cleaned | yes
select_one | seals_gaskets | Seals and Gaskets | Condition of seals | yes
text | airflow_measurement | Airflow Measurement (CFM) | Measured airflow | no
text | pressure_differential | Pressure Differential (inches WG) | Filter pressure drop | no
select_one | motor_condition | Motor Condition | Motor inspection result | yes
select_one | belt_condition | Belt Condition | Belt inspection result | yes
select_one | electrical_connections | Electrical Connections | Connection check | yes
select_one | control_panel | Control Panel Check | Panel inspection | yes
select_one | leaks_detected | Air Leaks Detected | Any leaks found | yes
select_one | noise_level | Noise Level | System noise assessment | yes
text | parts_used | Parts Used | List replacement parts | no
text | parts_part_numbers | Part Numbers | Part numbers used | no
text | recommendations | Recommendations | Suggested actions | yes
date | next_service_date | Next Service Date | Recommended follow-up | yes
text | technician_signature | Technician Signature | Digital signature | yes
text | supervisor_approval | Supervisor Approval | Supervisor signature | no
select_one | checklist_status | Checklist Status | Overall status | yes

## choices
list_name | name | label
system_type_choices | hepa_filtration | HEPA filtration
system_type_choices | carbon_filtration | Carbon filtration
system_type_choices | electrostatic | Electrostatic
system_type_choices | uv-c_system | UV-C system
system_type_choices | multi-stage | Multi-stage
system_type_choices | industrial | Industrial
system_type_choices | commercial | Commercial
system_type_choices | residential | Residential
maintenance_type_choices | routine_maintenance | Routine maintenance
maintenance_type_choices | filter_replacement | Filter replacement
maintenance_type_choices | emergency_repair | Emergency repair
maintenance_type_choices | inspection_only | Inspection only
maintenance_type_choices | system_upgrade | System upgrade
pre_filter_condition_choices | good | Good
pre_filter_condition_choices | fair | Fair
pre_filter_condition_choices | poor | Poor
pre_filter_condition_choices | replaced | Replaced
pre_filter_condition_choices | not_applicable | Not applicable
pre_filter_replaced_choices | true | True
pre_filter_replaced_choices | false | False
pre_filter_replaced_choices | not_applicable | Not applicable
hepa_filter_condition_choices | good | Good
hepa_filter_condition_choices | fair | Fair
hepa_filter_condition_choices | poor | Poor
hepa_filter_condition_choices | replaced | Replaced
hepa_filter_condition_choices | not_applicable | Not applicable
hepa_filter_replaced_choices | true | True
hepa_filter_replaced_choices | false | False
hepa_filter_replaced_choices | not_applicable | Not applicable
carbon_filter_condition_choices | good | Good
carbon_filter_condition_choices | fair | Fair
carbon_filter_condition_choices | poor | Poor
carbon_filter_condition_choices | replaced | Replaced
carbon_filter_condition_choices | not_applicable | Not applicable
uv_lamp_status_choices | working_properly | Working properly
uv_lamp_status_choices | diminished_output | Diminished output
uv_lamp_status_choices | not_working | Not working
uv_lamp_status_choices | replaced | Replaced
uv_lamp_status_choices | not_applicable | Not applicable
housing_cleaned_choices | yes,_thoroughly | Yes, thoroughly
housing_cleaned_choices | yes,_lightly | Yes, lightly
housing_cleaned_choices | false | False
housing_cleaned_choices | not_applicable | Not applicable
seals_gaskets_choices | good_condition | Good condition
seals_gaskets_choices | fair_condition | Fair condition
seals_gaskets_choices | poor,_needs_replacement | Poor, needs replacement
seals_gaskets_choices | replaced | Replaced
motor_condition_choices | good | Good
motor_condition_choices | fair | Fair
motor_condition_choices | poor | Poor
motor_condition_choices | requires_attention | Requires attention
motor_condition_choices | not_applicable | Not applicable
belt_condition_choices | good | Good
belt_condition_choices | fair | Fair
belt_condition_choices | worn,_needs_replacement | Worn, needs replacement
belt_condition_choices | replaced | Replaced
belt_condition_choices | not_applicable | Not applicable
electrical_connections_choices | all_secure | All secure
electrical_connections_choices | some_loose,_tightened | Some loose, tightened
electrical_connections_choices | issues_found | Issues found
electrical_connections_choices | not_checked | Not checked
control_panel_choices | all_functions_working | All functions working
control_panel_choices | minor_issues | Minor issues
control_panel_choices | major_issues | Major issues
control_panel_choices | not_checked | Not checked
leaks_detected_choices | none | None
leaks_detected_choices | minor,_sealed | Minor, sealed
leaks_detected_choices | major,_needs_repair | Major, needs repair
noise_level_choices | normal | Normal
noise_level_choices | slightly_elevated | Slightly elevated
noise_level_choices | abnormal,_needs_attention | Abnormal, needs attention
checklist_status_choices | complete,_all_items_passed | Complete, all items passed
checklist_status_choices | complete,_minor_issues_noted | Complete, minor issues noted
checklist_status_choices | incomplete,_follow-up_required | Incomplete, follow-up required

## settings
form_title | 025 Air Filtration System Maintenance Checklist - Equipment Maintenance Forms
form_id | 025_air_filtration_system_maintenance_checklist_equipment_maintenance_forms
version | 1.0
public_key