## survey
type | name | label | hint | required
start | start |  |  | no
end | end |  |  | no
note | equipment_metadata_header | -- Battery and System Identification -- |  | no
text | technician_name | Technician Performing Test |  | yes
text | battery_id_serial | Battery ID or Serial Number |  | yes
select_one | battery_chemistry | Battery Chemistry Type |  | yes
text | nominal_voltage | Nominal Voltage (V) |  | yes
note | test_parameters_header | -- Discharge Test Parameters -- |  | no
date | test_date | Date of Test |  | yes
text | starting_voltage_measured | Starting Voltage (V) | Measured at 100% State of Charge | yes
text | constant_discharge_current | Constant Discharge Current (Amps) |  | yes
text | cutoff_voltage_target | Target Cutoff Voltage (V) | End of test threshold | yes
text | environment_temp_c | Ambient Temperature (Celsius) |  | yes
note | test_results_header | -- Final Test Results -- |  | no
text | total_duration_minutes | Total Discharge Duration (Minutes) |  | yes
text | calculated_capacity_ah | Calculated Capacity (Ah) | (Current x Time) / 60 | yes
text | health_status_percent | Percentage of Rated Capacity (%) |  | yes
select_one | pass_fail_disposition | Test Disposition |  | yes
text | technical_comments | Technical Observations and Notes | Note any excessive heating or physical swelling | no
date | timestamp | Date Log Entry Completed |  | yes

## choices
list_name | name | label
battery_chemistry_choices | lead-acid_(vrla/flooded) | Lead-Acid (VRLA/Flooded)
battery_chemistry_choices | lithium-ion_(lfp/nmc) | Lithium-Ion (LFP/NMC)
battery_chemistry_choices | nickel-cadmium_(nicd) | Nickel-Cadmium (NiCd)
battery_chemistry_choices | nickel-metal_hydride_(nimh) | Nickel-Metal Hydride (NiMH)
pass_fail_disposition_choices | pass_-_optimal_health | Pass - Optimal Health
pass_fail_disposition_choices | pass_-_serviceable | Pass - Serviceable
pass_fail_disposition_choices | marginal_-_schedule_replacement | Marginal - Schedule Replacement
pass_fail_disposition_choices | fail_-_decommission_immediately | Fail - Decommission Immediately

## settings
form_title | 039 Battery Discharge Test Log - Equipment Management Forms
form_id | 039_battery_discharge_test_log_equipment_management_forms
version | 1.0
public_key