## survey
type | name | label | hint | required
start | start |  |  | no
end | end |  |  | no
text | inspection_id | Inspection ID | Unique identifier | yes
date | inspection_date | Inspection Date | Date of inspection | yes
time | inspection_time | Inspection Time | Time of inspection | yes
text | inspector_name | Inspector Name | Who performed inspection | yes
text | facility_name | Facility Name | Location name | yes
text | battery_room_id | Battery Room ID | Room identifier | yes
select_one | ventilation_system | Ventilation System Status | Is it working | yes
select_one | hydrogen_detector_status | Hydrogen Detector Status | Is detector working | yes
text | hydrogen_level_reading | Hydrogen Level Reading | Current ppm reading | yes
text | alarm_threshold | Alarm Threshold | Set threshold | yes
select_one | alarm_tested | Alarm Tested | Was alarm tested | yes
select_one | emergency_lighting | Emergency Lighting | Is it working | yes
select_one | fire_extinguisher | Fire Extinguisher Present | Is it available | yes
select_one | eyewash_station | Eyewash Station | Is it accessible | yes
select_one | warning_signs | Warning Signs Posted | Are signs visible | yes
select_one | floor_condition | Floor Condition | State of floor | yes
select_one | battery_condition | Battery Condition | Visual inspection | yes
select_one | leaks_detected | Leaks Detected | Any electrolyte leaks | yes
text | temperature_reading | Room Temperature | In Celsius | yes
select_one | overall_safety_rating | Overall Safety Rating | Rate the room | yes
text | corrective_actions | Corrective Actions Needed | What needs to be done | no
date | next_inspection_date | Next Inspection Date | When is next due | yes

## choices
list_name | name | label
ventilation_system_choices | operating_normally | Operating Normally
ventilation_system_choices | operating_with_issues | Operating with Issues
ventilation_system_choices | not_operating | Not Operating
ventilation_system_choices | not_applicable | Not Applicable
hydrogen_detector_status_choices | operational | Operational
hydrogen_detector_status_choices | needs_calibration | Needs Calibration
hydrogen_detector_status_choices | malfunctioning | Malfunctioning
hydrogen_detector_status_choices | not_present | Not Present
alarm_tested_choices | yes_-_working | Yes - Working
alarm_tested_choices | yes_-_failed | Yes - Failed
alarm_tested_choices | false | False
emergency_lighting_choices | working | Working
emergency_lighting_choices | not_working | Not Working
emergency_lighting_choices | not_present | Not Present
fire_extinguisher_choices | yes_-_in_date | Yes - In Date
fire_extinguisher_choices | yes_-_expired | Yes - Expired
fire_extinguisher_choices | false | False
eyewash_station_choices | accessible_and_working | Accessible and Working
eyewash_station_choices | not_accessible | Not Accessible
eyewash_station_choices | not_present | Not Present
warning_signs_choices | yes_-_all_present | Yes - All Present
warning_signs_choices | some_missing | Some Missing
warning_signs_choices | no_signs | No Signs
floor_condition_choices | clean_and_dry | Clean and Dry
floor_condition_choices | clean_but_wet | Clean but Wet
floor_condition_choices | dirty | Dirty
floor_condition_choices | damaged | Damaged
battery_condition_choices | good_-_no_issues | Good - No Issues
battery_condition_choices | minor_issues_noted | Minor Issues Noted
battery_condition_choices | major_issues_found | Major Issues Found
leaks_detected_choices | true | True
leaks_detected_choices | false | False
overall_safety_rating_choices | excellent | Excellent
overall_safety_rating_choices | good | Good
overall_safety_rating_choices | fair | Fair
overall_safety_rating_choices | poor | Poor
overall_safety_rating_choices | unsafe | Unsafe

## settings
form_title | 019 Battery Room Hydrogen Monitoring Inspection Checklist - Safety Inspection Forms
form_id | 019_battery_room_hydrogen_monitoring_inspection_checklist_safety_inspection_forms
version | 1.0
public_key