## survey
type | name | label | hint | required
start | start |  |  | no
end | end |  |  | no
note | maintenance_info_header | -- Maintenance Information -- |  | no
text | tech_name | Technician Name |  | yes
date | date | Date of Service |  | yes
text | unit_id | Unit ID | Tag number on the unit | yes
note | filter_check_header | -- Filter Check -- |  | no
select_one | filter_status | Filter Status (Visual) | Condition of main filters | yes
select_one | pre_filter_changed | Pre-Filter Changed? | Disposable layer | yes
select_one | hepa_filter_changed | HEPA/Main Filter Changed? | Long-term filter | yes
note | performance_header | -- Performance Data -- |  | no
text | airflow_reading | Airflow Reading (CFM) | Cubic Feet per Minute | yes
text | motor_amps | Motor Amperage Draw | Current load | yes
select_one | fan_belt | Fan Belt Tension | If belt driven | yes
select_one | housing_cleaned | Housing Cleaned? | Interior wiped down | yes
date | next_service | Next Service Due Date | Schedule follow-up | yes

## choices
list_name | name | label
filter_status_choices | clean | Clean
filter_status_choices | slightly_dirty | Slightly Dirty
filter_status_choices | dirty | Dirty
filter_status_choices | clogged_/_replace_immediately | Clogged / Replace Immediately
pre_filter_changed_choices | true | True
pre_filter_changed_choices | false | False
pre_filter_changed_choices | n/a | N/A
hepa_filter_changed_choices | true | True
hepa_filter_changed_choices | false | False
hepa_filter_changed_choices | n/a | N/A
fan_belt_choices | ok | OK
fan_belt_choices | adjusted | Adjusted
fan_belt_choices | replaced | Replaced
fan_belt_choices | n/a_(direct_drive) | N/A (Direct Drive)
housing_cleaned_choices | true | True
housing_cleaned_choices | false | False

## settings
form_title | 035 Air Filtration System Maintenance Checklist - Checklist Forms
form_id | 035_air_filtration_system_maintenance_checklist_checklist_forms
version | 1.0
public_key