## survey
type | name | label | hint | required
start | start |  |  | no
end | end |  |  | no
text | technician_name | Technician Name | Name of service technician | yes
date | service_date | Service Date | Date of maintenance | yes
text | facility_name | Facility Name | Building or facility name | yes
text | facility_address | Facility Address | Complete address | yes
text | humidifier_location | Humidifier Location | Specific location in facility | yes
text | humidifier_model | Humidifier Model | Model number | yes
text | humidifier_serial | Humidifier Serial Number | Serial number | yes
note | section_header_visual_inspection | -- Visual Inspection -- |  | no
select_one | exterior_condition | Exterior Condition | Rate exterior condition | yes
select_one | leaks_detected | Leaks Detected | Any water leaks | yes
select_one | corrosion_check | Corrosion Check | Signs of corrosion | yes
note | section_header_water_system | -- Water System -- |  | no
select_one | water_filter_status | Water Filter Status | Filter condition | yes
select_one | water_level_check | Water Level Check | Is water level correct | yes
select_one | drain_line_clear | Drain Line Clear | Is drain line unobstructed | yes
select_one | water_quality | Water Quality | Rate water quality | yes
note | section_header_electrical | -- Electrical Components -- |  | no
select_one | electrical_connections | Electrical Connections | Check connections | yes
select_one | control_panel | Control Panel | Panel condition | yes
select_one | sensors_functional | Sensors Functional | Are sensors working | yes
note | section_header_mechanical | -- Mechanical Components -- |  | no
select_one | fan_motor | Fan Motor | Motor condition | yes
select_one | belt_condition | Belt Condition | Drive belt status | yes
select_one | bearings | Bearings | Bearing condition | yes
note | section_header_performance | -- Performance Check -- |  | no
select_one | humidity_output | Humidity Output | Is output adequate | yes
select_one | noise_level | Noise Level | Operating noise | yes
select_one | energy_consumption | Energy Consumption | Power usage | yes
note | section_header_maintenance_performed | -- Maintenance Performed -- |  | no
select_one | filter_replaced | Filter Replaced | Was filter replaced | yes
select_one | system_cleaned | System Cleaned | Was system cleaned | yes
text | parts_replaced | Parts Replaced | List any parts replaced | no
date | next_service_date | Next Service Date | When is next maintenance due | yes
text | technician_notes | Technician Notes | Additional observations | no
text | technician_signature | Technician Signature | Signature | yes

## choices
list_name | name | label
exterior_condition_choices | excellent | Excellent
exterior_condition_choices | good | Good
exterior_condition_choices | fair | Fair
exterior_condition_choices | poor | Poor
leaks_detected_choices | none | None
leaks_detected_choices | minor | Minor
leaks_detected_choices | moderate | Moderate
leaks_detected_choices | severe | Severe
corrosion_check_choices | none | None
corrosion_check_choices | minor | Minor
corrosion_check_choices | moderate | Moderate
corrosion_check_choices | severe | Severe
water_filter_status_choices | clean | Clean
water_filter_status_choices | slightly_dirty | Slightly Dirty
water_filter_status_choices | needs_replacement | Needs Replacement
water_filter_status_choices | replaced_today | Replaced Today
water_level_check_choices | correct | Correct
water_level_check_choices | low | Low
water_level_check_choices | high | High
drain_line_clear_choices | yes_clear | Yes Clear
drain_line_clear_choices | partially_blocked | Partially Blocked
drain_line_clear_choices | blocked | Blocked
drain_line_clear_choices | cleaned_today | Cleaned Today
water_quality_choices | excellent | Excellent
water_quality_choices | good | Good
water_quality_choices | fair | Fair
water_quality_choices | poor | Poor
electrical_connections_choices | secure | Secure
electrical_connections_choices | loose | Loose
electrical_connections_choices | corroded | Corroded
electrical_connections_choices | repaired_today | Repaired Today
control_panel_choices | excellent | Excellent
control_panel_choices | good | Good
control_panel_choices | fair | Fair
control_panel_choices | poor | Poor
sensors_functional_choices | all_working | All Working
sensors_functional_choices | some_issues | Some Issues
sensors_functional_choices | not_working | Not Working
sensors_functional_choices | calibrated_today | Calibrated Today
fan_motor_choices | excellent | Excellent
fan_motor_choices | good | Good
fan_motor_choices | fair | Fair
fan_motor_choices | poor | Poor
belt_condition_choices | excellent | Excellent
belt_condition_choices | good | Good
belt_condition_choices | worn | Worn
belt_condition_choices | replaced_today | Replaced Today
belt_condition_choices | not_applicable | Not Applicable
bearings_choices | good | Good
bearings_choices | fair | Fair
bearings_choices | worn | Worn
bearings_choices | lubricated_today | Lubricated Today
humidity_output_choices | excellent | Excellent
humidity_output_choices | good | Good
humidity_output_choices | below_average | Below Average
humidity_output_choices | poor | Poor
noise_level_choices | normal | Normal
noise_level_choices | slightly_loud | Slightly Loud
noise_level_choices | loud | Loud
noise_level_choices | abnormal | Abnormal
energy_consumption_choices | normal | Normal
energy_consumption_choices | elevated | Elevated
energy_consumption_choices | high | High
energy_consumption_choices | not_measured | Not Measured
filter_replaced_choices | true | True
filter_replaced_choices | false | False
filter_replaced_choices | not_applicable | Not Applicable
system_cleaned_choices | yes_full_clean | Yes Full Clean
system_cleaned_choices | yes_partial_clean | Yes Partial Clean
system_cleaned_choices | false | False

## settings
form_title | 041 Commercial Humidifier Maintenance Checklist - Checklist Forms
form_id | 041_commercial_humidifier_maintenance_checklist_checklist_forms
version | 1.0
public_key