## survey
type | name | label | hint | required
start | start |  |  | no
end | end |  |  | no
text | technician_name | Technician Name | Name of person performing calibration | yes
text | technician_id | Technician ID | Employee or technician identification | no
date | calibration_date | Calibration Date | Date of calibration | yes
time | calibration_time | Calibration Time | Time of calibration | no
text | location | Location | Where was calibration performed | yes
select_one | department | Department | Department or area | yes
text | equipment_name | Equipment Name | Name of equipment being calibrated | yes
text | equipment_id | Equipment ID | Asset or serial number | yes
select_one | equipment_type | Equipment Type | Type of equipment | yes
text | manufacturer | Manufacturer | Equipment manufacturer | no
text | model_number | Model Number | Equipment model | no
text | serial_number | Serial Number | Equipment serial number | no
text | capacity | Equipment Capacity | Maximum capacity or range | no
text | calibration_standard_used | Calibration Standard Used | Reference standard for calibration | yes
text | standard_certificate_number | Standard Certificate Number | Certificate number for reference standard | no
date | standard_due_date | Standard Due Date | When is standard recalibration due | no
text | test_weights_used | Test Weights Used | Weights used for testing | no
select_one | zero_test | Zero Test | Did equipment read zero correctly | yes
select_one | span_test | Span Test | Did equipment read span correctly | yes
select_one | linearity_test | Linearity Test | Did equipment pass linearity check | no
text | readings_taken | Readings Taken | Document test readings | no
select_one | tolerance_met | Tolerance Met | Were all readings within tolerance | yes
select_one | calibration_result | Calibration Result | Overall result | yes
text | adjustments_made | Adjustments Made | Describe any adjustments | no
date | next_calibration_date | Next Calibration Date | When is next calibration due | yes
select_one | calibration_interval | Calibration Interval | How often should calibration occur | no
select_one | equipment_condition | Equipment Condition | Overall condition of equipment | yes
text | recommendations | Recommendations | Any recommendations for equipment | no
text | technician_signature | Technician Signature | Digital signature or initials | yes
text | additional_notes | Additional Notes | Any other information | no

## choices
list_name | name | label
department_choices | laboratory | Laboratory
department_choices | production | Production
department_choices | quality_control | Quality Control
department_choices | warehouse | Warehouse
department_choices | field_operations | Field Operations
department_choices | other | Other
equipment_type_choices | scale | Scale
equipment_type_choices | balance | Balance
equipment_type_choices | load_cell | Load cell
equipment_type_choices | force_gauge | Force gauge
equipment_type_choices | pressure_gauge | Pressure gauge
equipment_type_choices | temperature_sensor | Temperature sensor
equipment_type_choices | other_measuring_device | Other measuring device
equipment_type_choices | other | Other
zero_test_choices | pass | Pass
zero_test_choices | fail | Fail
zero_test_choices | not_applicable | Not applicable
span_test_choices | pass | Pass
span_test_choices | fail | Fail
span_test_choices | not_applicable | Not applicable
linearity_test_choices | pass | Pass
linearity_test_choices | fail | Fail
linearity_test_choices | not_performed | Not performed
tolerance_met_choices | yes,_all_within_tolerance | Yes, all within tolerance
tolerance_met_choices | no,_out_of_tolerance | No, out of tolerance
tolerance_met_choices | marginal | Marginal
calibration_result_choices | pass_-_calibrated | Pass - calibrated
calibration_result_choices | pass_-_as_found | Pass - as found
calibration_result_choices | fail_-_adjusted | Fail - adjusted
calibration_result_choices | fail_-_out_of_tolerance | Fail - out of tolerance
calibration_result_choices | fail_-_damaged | Fail - damaged
calibration_interval_choices | monthly | Monthly
calibration_interval_choices | quarterly | Quarterly
calibration_interval_choices | semi-annually | Semi-annually
calibration_interval_choices | annually | Annually
calibration_interval_choices | as_needed | As needed
equipment_condition_choices | excellent | Excellent
equipment_condition_choices | good | Good
equipment_condition_choices | fair | Fair
equipment_condition_choices | poor | Poor
equipment_condition_choices | needs_replacement | Needs replacement

## settings
form_title | 047 Calibration And Weight Check Form - Calibration Forms
form_id | 047_calibration_and_weight_check_form_calibration_forms
version | 1.0
public_key